## Lotto 5
LOTTO 5 - STANDARD E CONSUMABILI A MARCHIO "MERCK - SIGMA ALDRICH" DA INVIARE AI LABORATORI CHIMICI DI CATANIA E PALERMO
Riga | Descrizione | Formato | Qtà richieste Totali | Q.tà 2022 | Qtà 2023 | Destinazione
1 | Mineral Oil cod. PHR2881-1.5ML | fiala da 1,5 ml | 3 | 1 | 2 | LABORATORIO CHIMICO DI PALERMO
2 | C7-C40 SATURATED ALKANES STANDAR, 1X1ML& cod. 49452-U | fiala da 1 ml | 3 | 1 | 2
3 | 3-CHLOROPERBENZOIC ACID, <=70% cod. 273031-500G | conf. Da 500 g | 2 | 1 | 1
4 | MULTI LAYER SILICA GEL DIOXIN COLUMN cod. 28397-U | pezzo | 10 | 4 | 6
5 | DIOXIN SAMPLE PREPATION KIT cod. 28423-U | kit | 1 | 1 | 0
6 | DUAL-LAYER CARBON REVERSIBILE TUBE (MICRO-COLUMN) cod. 28399-U | pezzo | 6 | 2 | 4
7 | PRE-ACTIVATED FLORISIL cod. 48924-U | pezzo | 6 | 2 | 4
8 | GRAIN FAME MIX cod. CRM47801 | 1 fiala da 1 ml | 5 | 2 | 3
9 | SP-2560 CAPILLARY GC COLUMN L × I.D. 100 m × 0.25 mm, df 0.20 μm cod. 24056 | pezzo | 2 | 1 | 1
10 | Supelclean™ LC-Si SPE Tube bed wt. 500 mg, volume 6 mL, pk of 30 | 500 mg | 3 | 1 | 2
11 | Discovery DSC-Ph SPE Tube bed wt 500 mg, volume 3 ml, pkg of 54 ea cod. 52727-U | 500 mg | 3 | 1 | 2
12 | supelco SPB-624 . Lunghezza 60 m, diametro 0.25 mm , spessore del film 1,4 m cod. 24256 | pezzo | 3 | 1 | 2
13 | DODECYL ARACHIDATE cod. A8671-100MG | 100 mg | 3 | 1 | 2
14 | METHYL-EPTADECANOATA cod. H4515-100MG | 100 mg | 5 | 2 | 3
15 | Mercury ICP standard traceable to SRM from NIST Hg(NO₃)₂ in HNO₃ 10% 1000 mg/l Hg Certipur® cod. 1703330100 | 100 ml | 2 | 1 | 1
16 | FAME Mix Rapeseed Oiln. 18 (10 componenti) | 100 mg | 2 | 2 | 0
17 | Zirconium Standard for ICP cod. 51244-100ML | 100 ml | 1 | 1 | 0
18 | Scandium Standard for ICP cod. 92279-100 ML | 100 ml | 1 | 1 | 0
19 | Gallium Standard for ICP cod. 16639-100ML | 100 ml | 1 | 1 | 0
20 | Silicon Standard for ICP cod. 08729-100ML | 100 ml | 1 | 1 | 0
21 | Rare earth element mix for ICP cod. 67349-100ML | 100 ml | 1 | 1 | 0
22 | Standard liquido Hexanal (cas 66-25-1) purezza >97,0% | 1*1mL | 3 | 2 | 1
23 | Standard liquido trans-2-Hexen-1-al ( cas 6728-26-3) purezza >97,0% | 1*25g | 2 | 1 | 1
24 | Standard trans-2-Pentenal (cas1576-87-0) purezza >95,0% | 1*25g | 2 | 1 | 1
25 | Standard Pentanal (cas110-62-3) purezza >95,0% | 1*mL | 3 | 2 | 1
26 | Standard liquido 1-Penten-3-ol (cas 616-25-1) purezza >95,0% | 1*200mg | 3 | 2 | 1
27 | Standard liquido 1-Hexanol (cas 111-27-3) purezza >95,0% | 1*5mL | 3 | 2 | 1
28 | Standard liquido cis-3-Hexen-1-ol cas 928-96-1 purezza >95,0% | 1*100g | 2 | 1 | 1
29 | Standard liquido (E)-2-Nonenal cas 18829-56-6 purezza >95,0% | 1*1ml | 3 | 2 | 1
30 | Standard liquido 1-Penten-3-one (cas 1629-58-9) purezza >95,0% | 1*1ml | 3 | 2 | 1
31 | Drierite gas-drying unit Cod.: Z112879-1EA | pezzo | 1 | 1 | 0 | LABORATORIO CHIMICO DI CATANIA
32 | Drierite gas-drying unit replacement felt filters, 50 pz. Cod.: Z248444-1PAK | conf. Da 50 pz | 1 | 1 | 0
33 | Drierite with indicator, 8 mesh Cod.: 238988-2.3KG | conf. da 2,3 kg | 1 | 1 | 0
34 | IC Multielemento Standard VII, 100 ml 100 mg/l di NH₄, Ba, Ca, K, Li, Na, Mg, Mn, Sr in H₂O Cod.: 1103220100 | 100 ml | 1 | 1 | 0
35 | Standard Anioni I-Multielemento, 500 ml 1000 mg/l di F⁻, PO₄³⁻, Br⁻ in H₂O Cod.: 1114370500 | 500 ml | 1 | 1 | 0
36 | Standard Anioni II-Multielemento, 500ml 1000 mg/l: Cl⁻, NO₃⁻, SO₄²⁻ in H₂O Cod.: 1114480500 | 500 ml | 1 | 1 | 0
37 | Fused-Core particle platform HPLC Column C18 (octadecyl) phase, suitable for L1/USP endcapped, 2.7 μm particle size, L × I.D. 150 mm × 3 mm ultra-pure type-B silica; pore size 90 Å; surface area 135 m²/g; pH range 2-9 Cod.: 53816-U | pezzo | 2 | 2 | 0
38 | Fused-Core particle platform HPLC Column C18 (octadecyl) phase, suitable for L1/USP endcapped, 2 μm particle size, L × I.D. 150 mm × 2.1 mm ultra-pure type-B silica; pore size 90 Å; surface area 120 m²/g; pH range 2-9 Cod.: 50814-U | pezzo | 2 | 2 | 0
39 | Guard Cartridge Holder for use with Guard Column L × I.D. 5 mm × 3 mm Cod.: 53500-U | pezzo | 2 | 2 | 0
40 | Guard Cartridge, C18 (octadecyl) phase 2 μm particle size L × I.D. 5 mm × 2.1 mm, 90 Å pore size, pkg of 3 ea Cod.: 50822-U | pezzo | 2 | 2 | 0
41 | Guard Cartridge, C18 (octadecyl) phase 2.7 μm particle size L × I.D. 5 mm × 3 mm, 90 Å pore size, pkg of 3 ea Cod.: 53504-U | pezzo | 2 | 2 | 0
42 | SUPELCO-SLB-5ms Capillary GC Column, 60 m x 0.25 mm ID, 0.25 μm df Bonded and highly crosslinked, silphenylene polymer virtually equivalent in polarity to poly(5% diphenyl/95% dimethyl siloxane) phase, suitable USP G27, G36 Cod.: 28472-U | pezzo | 1 | 1 | 0
43 | Solvent Yellow 124 ≥98% Cod.: 49639-50MG |  | 2 | 1 | 1
44 | ICP solvet for inorganic trace analysis, ≥99.9995% (metals basis) Cod.: 54362-1L |  | 2 | 0 | 2
45 | Starch soluble GR for analysis ISO, 100g Cod.: 1012520100 |  | 1 | 0 | 1
46 | ERM-EF001 BIODIESEL fIala da 27 ml Cod.: ERMEF001-27ML |  | 2 | 1 | 1
47 | F.A.M.E. Mix, C4-C24 certified reference material, wt. % Cod.: 18919-1AMP |  | 2 | 1 | 1
48 | CEN PCB Congener Mix 1 soluzione 10μ/ml in heptane, 1 ml Cod: 47927 |  | 6 | 3 | 3
49 | Transformer oil PCB Free, 10 pz. x 5 ml Cod: 46956 |  | 1 | 0 | 1
50 | CRM Aroclor 1242, ampule of 5 ml solution 50mg/kg in transformer oil Cod: 48731 |  | 2 | 0 | 2
51 | CRM Aroclor 1254, ampule of 5 ml solution 50mg/kg in transformer oil Cod: 48734 |  | 4 | 2 | 2
52 | CRM Aroclor 1260, ampule of 5mL solution 50mg/kg in transformer oil Cod: CRM48736 |  | 2 | 0 | 2
53 | PCB 28, 52, 101, 138, 153, 180 solution 10μg/mL in isooctane, 2 ml Cod: 36906-2ML |  | 6 | 2 | 4
54 | Hexachlorobenzene, 250mg Cod.: 45522-250MG |  | 1 | 0 | 1
55 | PCB-209 solution 10±0,5μg/mL in isottano, 5 ml Cod: 41612-5ML |  | 5 | 2 | 3
56 | Ammonio Solfato 99+% traceable to NIST SRM 194, 25 g Cod.: 59845-25G |  | 1 | 0 | 1
57 | Wijs solution, 1000 ml For iodine number c(ICl) = 0.1 mol/l Cod.: 1091631000 |  | 2 | 1 | 1
58 | Dichloroacetic acid ≥99%, 500 ml Cod.: D54702-500ML |  | 4 | 2 | 2
59 | 2-Butanone ≥ 99%, 100ml Cod.: 34861-100ML-M |  | 2 | 1 | 1
60 | tert-Butyl ethyl ether ≥ 99%, 25 g Cod.: 253898-25G |  | 2 | 1 | 1
61 | Methyl-tert-butyl ether ≥ 99%, 100ml Cod.: 34875-100ML |  | 2 | 1 | 1
62 | Ethanol ≥ 99%, 500ml Cod.: 1009800500 |  | 2 | 1 | 1
63 | Methanol ≥ 99%, 100ml Cod.: 322415-100ML |  | 2 | 1 | 1
64 | Benzene ≥ 99%, 100ml Cod.: 401765-100ML |  | 2 | 1 | 1